## ABC Sensor
List of the Cambrian Vibration (ABC) Sensor on August 2022
NO. | Sensor Name | Model | S / N | Mail Address of Sensor | Sensor ID | Password | 3rd party app password | Client | Location | Calibration Date | Remark
1 | Cambrian Sensor - 01 | VSEW_mk2 (8g) | CnLcBXUye1W%Krnw5yBxtD |  |  | C20ec2012?
2 | Cambrian Sensor - 02 | VSEW_mk2 (8g) | AnFWBHUw23e%KLnwS6hZID |  | AnFw_VM5_MAH | C20ec2012? |  | Shimizu | MAH - Babyward |  | Changed new sensor on 01.09.2022
3 | Cambrian Sensor - 03 | VSEW_mk2 (8g) | AFPcDnWwe1UfALlwzwjxlD | rt.afpc.abc@gmail.com | [6 empty] | Faulty
4 | Cambrian Sensor - 04 | VSEW_mk2 (8g) | CvBWJ1W6eX8fiLFgR+LZtD | rt.cvbw.abc@gmail.com | [6 empty] | Faulty
5 | Cambrian Sensor - 05 | VSEW_mk2 (8g) | AFlUh30QW1+9ohvC4+JRnD | eng5.cambrian@gmail.com | AF1U_VM1_31 Benoi Lane | C20ec2012? |  | Beng Soon | 31 Benoi Lane_VM1 |  | Installed on 01.09.2022
6 | Cambrian Sensor - 06 | VSEW_mk2 (8g) | Cvv8rd2wedW1orvwY6JxnD | rt.cvv8.abc@gmail.com | [6 empty] | Faulty
7 | Cambrian Sensor - 07 | VSEW_mk2 (8g) | APlcrt0Y+1WdKjnS78JxvD | rt.apic.abc@gmail.com | [6 empty] | Faulty
8 | Cambrian Sensor - 08 | VSEW_mk2 (8g) | CvLUD30SUdU%IjnCzwDZH | rt.cvlu.abc@gmail.com | [6 empty] | Faulty
9 | Cambrian Sensor - 09 | VSEW_mk2 (8g) | CnHWDNWw+ | [7 empty] | Faulty
10 | Cambrian Sensor - 10 | VSEW_mk2 (8g) | CPr8jnUYWX0%ILtCz2BxFD | [7 empty] | Faulty
11 | Cambrian Sensor - 11 | VSEW_mk2 (8g) | AFDepPUYc%2dCrFiS8PZFD | [7 empty] | Faulty
12 | Cambrian Sensor - 12 | VSEW_mk2 (8g) | CNJ8jF0O2%cdqhNwzyJxFD | [7 empty] | Faulty
13 | Cambrian Sensor - 13 | VSEW_mk2 (8g) | Ant2pnU6+%cfADNi72BxND | rt.ant2.abc@gmail.com | [6 empty] | Faulty
14 | Cambrian Sensor - 14 | VSEW_mk2 (8g) | Cnl0BH04U9W%KrvSxyLZND | [7 empty] | Faulty
15 | Cambrian Sensor - 15 | VSEW_mk2 (8g) | CttcB124+%0fiLPAQ0pZlD | [7 empty] | Faulty
16 | Cambrian Sensor - 16 | VSEW_mk2 (8g) | CvFUJd062129CDlAY4JxnD | rt.cvv8.abc@gmail.com | CvFU_VM1R_Siltronic | C20ec2012? |  | Tong Bee | Siltronic | 11.06.2022 | Replaced on 13/07/2022
17 | Cambrian Sensor - 17 | VSEW_mk2 (8g) | AnH0hd2w298%Chtixwj5ND | rt.cvv8.abc@gmail.com | AnH0h_VM1_18 Jervois Road |  |  | Beng Siew | 18 Jervois Road
18 | Cambrian Sensor - 18 | VSEW_mk2 (8g) | CttUpdUY292VALvyQ6r5lD | rt.CttU.abc@gmail.com | CttU_VM2_Woodlands Ave 1 | C20ec2012? |  | TPW Eng | Woodlands Ave1 |  | Installed on 1/12/2021
19 | Cambrian Sensor - 19 | VSEW_mk2 (8g) | CFv8BVUaWf+%qjtSS+jZHD | eng5.cambrian@gmail.com | CFv8_VM1_Woodlands Ave 1 | C20ec2012? |  | TPW Eng | Woodlands Ave1 |  | Installed on 1/12/2021
20 | Cambrian Sensor - 20 | VSEW_mk2 (8g) | AtvUJ3Ww0fU9lpFSR0DRND | [7 empty] | OFFICE
21 | Cambrian Sensor - 21 | VSEW_mk2 (8g) | AnhchdWS+1+9qBnw68j5PD | [7 empty] | OFFICE
22 | Cambrian Sensor - 22 | VSEW_mk2 (8g) | CNH0DdU6+%c9qJnSx6j5tD | [7 empty] | OFFICE
23 | Cambrian Sensor - 23 | VSEW_mk2 (8g) | AtLch1UyW%O3iDVQy+BRPD |  | AtLch_MAH_VM6 | C20ec2012? |  | Shimizu | MAH - EYE |  | Changed new sensor on 01.09.2022
24 | Cambrian Sensor - 24 | VSEW_mk2 (8g) | AFvcpc060183qjFCT4B5tD | rt.cvv8.abc@gmail.com | AFvc_Jalan Afifi_VM1R | C20ec2012? |  | Hexacon | 20 Jln Afifi |  | Installation on 21/9/2022
25 | Cambrian Sensor - 25 | VSEW_mk2 (8g) | AFj+D30y8d8XlJNiZ8p5HD |  | AFJ+D_MAH-VM1 | C20ec2012? |  | Shimizu | MAH - MRI |  | Changed new sensor on 01.09.2022
26 | Cambrian Sensor - 26 | VSEW_mk2 (8g) | CtFcj30w0V2%AJtgY2LxND |  | CtFc_MAH_VM4 | C20ec2012? |  | Shimizu | MAH - Laser Room |  | Changed new sensor on 01.09.2022
27 | Cambrian Sensor - 27 | VSEW_mk2 (8g) | CNlWpVUwc%c9orlSYwjxvD | rt.cvv8.abc@gmail.com | CN1Wp_Portsdown Road_VM1 | C20ec2012? |  | Decon Builders | Portsdown Road_VM1 |  | Installed on 13.09.2022
28 | Cambrian Sensor - 28 | VSEW_mk2 (8g) | AFJervUw+dUdorlw7+LxHD | rt-AFJe_abc@gmail.com |  | C20ec2012? |  |  |  |  | Faulty
29 | Cambrian Sensor - 29 | VSEW_mk2 (8g) | CFJcBH2S01WfKptwx+LxFD | rt.cvv8.abc@gmail.com | CFJc_VM3_22 AMK Ind Park 2 | C20ec2012? |  | UBT | VM3_22 AMK Ind Park 2 | 14.06.2022 | Installed on 14/6/2022
30 | Cambrian Sensor - 30 | VSEW_mk2 (8g) | CFnUJP06U%2XCJNQy4hxPD | rt-CFnU_abc@gmail.com | CFnU_20 Jalan Afifi_VM2 | C20ec2012? |  | Hexacon | 20 Jln Afifi |  | Installed on 1/4/2022
31 | Cambrian Sensor - 31 | VSEW_mk2 (8g) | CFt2Dl0a2dedgDPCb8rRnD | rt-CFt2_abc@gmail.com | CFt2_VM1_8 Shenton Way | C20ec2012? |  | Bengsoon | 8 shenton way |  | Installed on 1/3/2022
32 | Cambrian Sensor - 32 | VSEW_mk2 (8g) | APNUDXWw8Xc9ijFiT8DRnD | rt.cvv8.abc@gmail.com | APNUD_VM1_25 Haig Road | C20ec2012? |  | ISO-Team | VM1_25 Haig Road |  | Installed on 31/08/2022
33 | Cambrian Sensor - 33 | VSEW_mk2 (8g) | CNF8JvWa03U1KBny4+jZFD | rt-CNF8_abc@gmail.com | CNF8_VM1_1 TDP | C20ec2012? |  | PUB | TDP |  | Running on Site
34 | Cambrian Sensor - 34 | VSEW_mk2 (8g) | CvFeB1Waed+XoBtC6+BRHD | rt.CvFeB.abc@gmail.com | CvFeB_VM6_100 Beach Road | RTVibabc2022? |  | Hyundai | VM5_100 Beach Road |  | Installed on 12/01/2022
35 | Cambrian Sensor - 35 | VSEW_mk2 (8g) | AFB0jv24UXW3qJFyZ+B5PD | rt.cvv8.abc@gmail.com | AFB0_VM1_Cross Street | RTVibabc2021? |  | Aik Sun | VM1_Cross Street (Hawker Center) | 14.06.2022 | Installed on 29/08/2022
36 | Cambrian Sensor - 36 | VSEW_mk2 (8g) | ANp8hl2wU98fIDlySyD5lD | rt.cvv8.abc@gmail.com | ANp8h_VM2_25 Haig Road | C20ec2012? |  | ISO-Team | VM2_25 Haig Road |  | Installed on 31/08/2022
37 | Cambrian Sensor - 37 | VSEW_mk2 (8g) | AFJ+jFUy01UVgrHAz8j5PD |  | AFJ+j_MAH_VM2 | C20ec2012? |  | Shimizu | MAH - NICU |  | Changed new sensor on 01.09.2022
38 | Cambrian Sensor - 38 | VSEW_mk2 (8g) | AHJWhN04e1W3KLNgSyrRtD | rt.ahjw.abc@gmail.com | AHJW_20 Jalan Afifi_VM3 | C20ec2012? |  | Hexacon | 20 Jln Afifi |  | Installed on 1/4/2022
39 | Cambrian Sensor - 39 | VSEW_mk2 (8g) | CFnUhX06c9c%ohtwZ6BZnD | rt.chh8.abc@gmail.com | CFnU-VM3_25 Haig Road | C20ec2012? |  | ISO-Team | VM3_25 Haig Road |  | Installed on 31/08/2022
40 | Cambrian Sensor - 40 | VSEW_mk2 (8g) | APP8pv0yc983ijvCZ+LxPD | rt.cvv8.abc@gmail.com | APP8_VM2_22 AMK Ind Park 2 | C20ec2012? |  | UBT | VM2_22 AMK Ind Park 2 |  | Running on Site
41 | Cambrian Sensor - 41 | VSEW_mk2 (8g) | CtJcrlUye183oBFyT0B5tD |  | CtJcr_MAH_VM3 | C20ec2012? |  | Shimizu | MAH - ICU |  | Changed new sensor on 01.09.2022
42 | Cambrian Sensor - 42 | VSEW_mk2 (8g) | AHvcj12QW9eXojHAzyp5FD | eng5.cambrian@gmail.com | AHvc_VM3_Woodlands Ave 1 | C20ec2012? |  | TPW Engineering | VM3_Woodlands Ave1 |  | Installed on 1/12/2021
43 | Cambrian Sensor - 43 | VSEW_mk2 (8g) | AlJ2JFWy+1WfqhPwx4LZlD | eng5.cambrian@gmail.com | AlJ2_VM2_8 Shenton way | C20ec2012? |  | Beng Soon | VM2_8 Shenton Way |  | Installed on 1/03/2022
44 | Cambrian Sensor - 44 | VSEW_mk2 (8g) | AlJ2JFWy+1WfqhPwx4LZlD | rt.cvhw.abc@gmail.com | 44_CvhW | C20ec2012? |  | ECO2 Builder | VM1_Changi Airport |  | Installed on 28/07/2021
45 | Cambrian Sensor - 45 | VSEW_mk2 (8g) | APt8B9UyWVcfAjtiayBRPD | rt.apt8.abc@gmail.com | 45_APt8 | C20ec2012? |  | ECO2 Builder | VM2_Changi Airport |  | Installed on 28/07/2021
46 | Cambrian Sensor - 46 | VSEW_mk2 (8g) | CHh8DVU42Ve1ihPQR8pZFD | rt.CHh8.abc@gmail.com | CHh8_VM2_KKH | C20ec2012? |  | Anderco | VM2_KKH | 01.06.2022 | Running on Site
47 | Cambrian Sensor - 47 | VSEW_mk2 (8g) | CFtWLl2SW989gjHix4pZPD |  |  | C20ec2012? |  |  |  |  | Faulty
48 | Cambrian Sensor - 48 | VSEW_mk2 (8g) | Ath8Jd048X2dgrtwy+pRlD | rt.cvv8.abc@gmail.com | Ath8_VM1_KKH | C20ec2012? |  | Anderco | VM1_KKH(replace) | 01.06.2022 | Replaced on 6/6/2022
49 | Cambrian Sensor - 49 | VSEW_mk2 (8g) | AnDUJfWyed0fAhlwYwpZHD | eng5.cambrian@gmail.com | AnDU_VM1_22 AMK Ind Park 2 | C20ec2012? |  | UBT | VM1_22 AMK Ind Park 2 |  | Installed on 1/4/2022
50 | Cambrian Sensor - 50 | VSEW_mk2 (8g) | CFBeDH0Ye103ghvQy8JxHD | rt.cvv8.abc@gmail.com | CFBe_VM1_Seraya Ave | C20ec2012? |  | Beng Soon | VM1_3 Seraya Ave | 14.06.2022 | Running on Site
51 | Cambrian Sensor - 51 | VSEW_mk2 (8g) | CFP8hV0QU%eVCJFCRyJRtD | rt.cvv8.abc@gmail.com | CFP8h_VM1_100 Beach Road | RTVibabc2022? |  | Hyundai | VM1_100 Beach Road |  | Installed on 12/01/2022
52 | Cambrian Sensor - 52 | VSEW_mk2 (8g) | CljWBH0Q2Xc9KhPC42jZlD | rt.cvv8.abc@gmail.com | CljWB_VM2_100 Beach Road | RTVibabc2022? |  | Hyundai | VM2_100 Beach Road |  | Installed on 12/01/2022
53 | Cambrian Sensor - 53 | VSEW_mk2 (8g) | CHJUhv2yc30XKDPwy2hRtD | rt.cvv8.abc@gmail.com | CHJUh_VM3_100 Beach Road | RTVibabc2022? |  | Hyundai | VM3_100 Beach Road |  | Installed on 12/01/2022
54 | Cambrian Sensor - 54 | VSEW_mk2 (8g) | CHH2L3Ww0%W1IDvCw0h5ND | rt.cvv8.abc@gmail.com | CHH2L_VM4_100 Beach Road | RTVibabc2022? |  | Hyundai | VM4_100 Beach Road |  | Installed on 12/01/2022
55 | Cambrian Sensor - 55 | VSEW_mk2 (8g) | AnFeBt2YUXedqrngy+BxPD | rt.cvv8.abc@gmail.com | AnFeB_VM5_100 Beach Road | RTVibabc2022? |  | Hyundai | VM5_100 Beach Road |  | Installed on 12/01/2022
56 | Cambrian Sensor - 56 | VSEW_mk2 (8g) | CnvcBIW4U9eVgJIC44BxvD | [7 empty] | New Sensor - Received on 09.09.2022
57 | Cambrian Sensor - 57 | VSEW_mk2 (8g) | AvjULI26WfUVKJHSy+BZND | [7 empty] | New Sensor - Received on 09.09.2022
58 | Cambrian Sensor - 58 | VSEW_mk2 (8g) | CvI0pf24ef83ipHyT8BRvD | [7 empty] | New Sensor - Received on 09.09.2022
59 | Cambrian Sensor - 59 | VSEW_mk2 (8g) | CHrWr9W6U129ArnyQ0BRPD | [7 empty] | New Sensor - Received on 09.09.2022
60 | Cambrian Sensor - 60 | VSEW_mk2 (8g) | Cth+LtUQ0d2dKJHg46LRtD | [7 empty] | New Sensor - Received on 09.09.2022
61 | Cambrian Sensor - 61 | VSEW_mk2 (8g) | CnpUjdWw0V21ALtwZ4J5tD | [7 empty] | New Sensor - Received on 09.09.2022
|  |  |  | Email | Email Password | Sites | Remarks
|  |  | Email address used to send vibration readings | rt.cvv8.abc@gmail.com | RTVibabc2021?1 | 1. AMK Industrial Park 2 2. 8 Shenton Way 3. 18 Jervois Road 4. 31 Benoi Lane 5. 25 Haig Road 6. 700 Upper Changi Road 7. Cross Street 8. 20 Jalan Afifi 9. MAH 10. Portsdown Road
|  |  |  | rt.cfp8h.abc@gmail.com | C20ec2012? | 100 Beach Road
|  |  |  | rt.cfbe.abc@gmail.com | 1234567890v.V | Siltronic
|  |  |  | rt.chh8.abc@gmail.com | C20ec2012? | 25 Haig Road
|  |  |  | eng5.cambrian@gmail.com | 1234567890v.V | KKH (100 Bukit Timah)
rt.anh0.abc@gmail.com

## Serial No.
FAULTY
Sensor Name | S / N
Cambrian Sensor - 01 | CnLcBXUye1W%Krnw5yBxtD
Cambrian Sensor - 02 | AnFWBHUw23e%KLnwS6hZID
Cambrian Sensor - 03 | AFPcDnWwe1UfALlwzwjxlD
Cambrian Sensor - 04 | CvBWJ1W6eX8fiLFgR+LZtD
Cambrian Sensor - 05 | AFlUh30QW1+9ohvC4+JRnD
Cambrian Sensor - 06 | Cvv8rd2wedW1orvwY6JxnD
Cambrian Sensor - 07 | APlcrt0Y+1WdKjnS78JxvD
Cambrian Sensor - 08 | CvLUD30SUdU%IjnCzwDZH
Cambrian Sensor - 09 | CnHWDNWw+
Cambrian Sensor - 10 | CPr8jnUYWX0%ILtCz2BxFD
Cambrian Sensor - 11 | AFDepPUYc%2dCrFiS8PZFD
Cambrian Sensor - 12 | CNJ8jF0O2%cdqhNwzyJxFD
Cambrian Sensor - 13 | Ant2pnU6+%cfADNi72BxND
Cambrian Sensor - 14 | Cnl0BH04U9W%KrvSxyLZND
Cambrian Sensor - 15 | CttcB124+%0fiLPAQ0pZlD
Cambrian Sensor - 16 | CvFUJd062129CDlAY4JxnD
Cambrian Sensor - 17 | AnH0hd2w298%Chtixwj5ND
Cambrian Sensor - 18 | CttUpdUY292VALvyQ6r5lD
Cambrian Sensor - 19 | CFv8BVUaWf+%qjtSS+jZHD
Cambrian Sensor - 20 | AtvUJ3Ww0fU9lpFSR0DRND
Cambrian Sensor - 21 | AnhchdWS+1+9qBnw68j5PD
Cambrian Sensor - 22 | CNH0DdU6+%c9qJnSx6j5tD
Cambrian Sensor - 23 | AtLch1UyW%O3iDVQy+BRPD
Cambrian Sensor - 24 | AFvcpc060183qjFCT4B5tD
Cambrian Sensor - 25 | AFj+D30y8d8XlJNiZ8p5HD
Cambrian Sensor - 26 | CtFcj30w0V2%AJtgY2LxND
Cambrian Sensor - 27 | CNlWpVUwc%c9orlSYwjxvD
Cambrian Sensor - 28 | AFJervUw+dUdorlw7+LxHD
Cambrian Sensor - 29 | CFJcBH2S01WfKptwx+LxFD
Cambrian Sensor - 30 | CFnUJP06U%2XCJNQy4hxPD
Cambrian Sensor - 31 | CFt2Dl0a2dedgDPCb8rRnD
Cambrian Sensor - 32 | APNUDXWw8Xc9ijFiT8DRnD
Cambrian Sensor - 33 | CNF8JvWa03U1KBny4+jZFD
Cambrian Sensor - 34 | CvFeB1Waed+XoBtC6+BRHD
Cambrian Sensor - 35 | AFB0jv24UXW3qJFyZ+B5PD
Cambrian Sensor - 36 | ANp8hl2wU98fIDlySyD5lD
Cambrian Sensor - 37 | AFJ+jFUy01UVgrHAz8j5PD
Cambrian Sensor - 38 | AHJWhN04e1W3KLNgSyrRtD
Cambrian Sensor - 39 | CFnUhX06c9c%ohtwZ6BZnD
Cambrian Sensor - 40 | APP8pv0yc983ijvCZ+LxPD
Cambrian Sensor - 41 | CtJcrlUye183oBFyT0B5tD
Cambrian Sensor - 42 | AHvcj12QW9eXojHAzyp5FD
Cambrian Sensor - 43 | AlJ2JFWy+1WfqhPwx4LZlD
Cambrian Sensor - 44 | AlJ2JFWy+1WfqhPwx4LZlD
Cambrian Sensor - 45 | APt8B9UyWVcfAjtiayBRPD
Cambrian Sensor - 46 | CHh8DVU42Ve1ihPQR8pZFD
Cambrian Sensor - 47 | CFtWLl2SW989gjHix4pZPD
Cambrian Sensor - 48 | Ath8Jd048X2dgrtwy+pRlD
Cambrian Sensor - 49 | AnDUJfWyed0fAhlwYwpZHD
Cambrian Sensor - 50 | CFBeDH0Ye103ghvQy8JxHD
Cambrian Sensor - 51 | CFP8hV0QU%eVCJFCRyJRtD
Cambrian Sensor - 52 | CljWBH0Q2Xc9KhPC42jZlD
Cambrian Sensor - 53 | CHJUhv2yc30XKDPwy2hRtD
Cambrian Sensor - 54 | CHH2L3Ww0%W1IDvCw0h5ND
Cambrian Sensor - 55 | AnFeBt2YUXedqrngy+BxPD
Cambrian Sensor - 56 | CnvcBIW4U9eVgJIC44BxvD
Cambrian Sensor - 57 | AvjULI26WfUVKJHSy+BZND
Cambrian Sensor - 58 | CvI0pf24ef83ipHyT8BRvD
Cambrian Sensor - 59 | CHrWr9W6U129ArnyQ0BRPD
Cambrian Sensor - 60 | Cth+LtUQ0d2dKJHg46LRtD
Cambrian Sensor - 61 | CnpUjdWw0V21ALtwZ4J5tD

## SENSOR
List of the Cambrian Vibration (ABC) Sensor on August 2022
SENSOR NUMBER (CAMBRIAN SENSOR) | CLIENT | LOCATION | SENSOR ID | VM | EMAIL
1 |  |  |  |  | OFFICE | OFFICE
2 | TPW Engineering | Woodlands Ave 1&3 | AnFw_VM3R_Woodlands Ave 1&3 | VM3R | rt.cfp8h.abc@gmail.com | FAULTY
3 |  |  |  |  | FAULTY | MAH
4 |  |  |  |  | FAULTY | 100 BEACH ROAD
5 | Shimizu | MAH - MRI | AF1U_VM3R_MAH (MRI) | VM3R | rt.cfp8h.abc@gmail.com | SILTRONIC
6 |  |  |  |  | FAULTY | AMK
7 |  |  |  |  | FAULTY | 31 BENOI LANE
8 |  |  |  |  | FAULTY | CROSS STREET
9 |  |  |  |  | FAULTY
10 |  |  |  |  | FAULTY | 8 SHENTON WAY
11 |  |  |  |  | FAULTY | 3 SERAYA AVE
12 |  |  |  |  | FAULTY | 20 JALAN AFIFI
13 |  |  |  |  | FAULTY | 18 JERVOIS ROAD
14 |  |  |  |  | FAULTY | WOODLANDS 1&3
15 |  |  |  |  | FAULTY | 799 UPPER CHANGI RD
16 | Tong Bee | Siltronic | CvFU_VM1R_Siltronic | VM1R | rt.cfbe.abc@gmail.com
17 | Beng Soon | 8 Shenton Way | AnH0h_VM2R_8 Shenton Way | VM2R | rt.cfp8h.abc@gmail.com | KKH
18 | V-Tech | 29 Greenleaf Ave | CttU_VM1_29 Greenleaf Avenue | VM1 | rt.anh0.abc@gmail.com
19 | ST Foundation | 8 Tuas Bay Lane | CFv8_VM2_8 Tuas Bay Lane | VM2 | rt.cfp8h.abc@gmail.com
20 | Beng Soon | 3 Seraya Ave | AtvU_VM1R_3 Seraya Ave | VM1R | rt.cvv8.abc@gmail.com
21 | ISO-Team | 4 Haig Lane | Anhc_VM1_4 Haig Lane | VM1 | rt.cfp8h.abc@gmail.com
22 |  |  | CNH0_VM |  | OFFICE
23 | TPW Engineering | Woodlands Ave 1&3 | AtLch_VM1R_Woodlands Ave 1&3 | VM1R | rt.anh0.abc@gmail.com
24 | Shimizu | MAH - EYE | AFvc_VM1R_MAH (EYE) | VM1R | rt.anh0.abc@gmail.com
25 | Aik Sun | Bedok Point | AFj+_VM1R_799 Upper Changi Road | VM1R | rt.anh0.abc@gmail.com
26 | Aik Sun | Bedok Point | CtFc_VM2R_799 Upper Changi Road | VM2R | rt.cfp8h.abc@gmail.com
27 |  |  |  |  | OFFICE
28 |  |  |  |  | FAULTY
29 | Hexacon | 20 Jalan Afifi | CFJc_VM1R_20 Jalan Afifi | VM1R | rt.anh0.abc@gmail.com
30 | Gee Leng | Yishun Ind Pk A | CFnU_VM1_Yishun Ind Pk A | VM1 | rt.anh0.abc@gmail.com
31 | Hexacon | 20 Jalan Afifi | CFt2_VM2R_20 Jalan Afifi | VM2R | rt.cfp8h.abc@gmail.com
32 | Shimizu | MAH - CVL | APNU_VM5R_MAH (CVL) | VM5R | rt.cvv8.abc@gmail.com
33 |  |  |  |  | OFFICE
34 | Hyundai | 100 Beach Road | CvFeB_VM6_100 Beach Road | VM6 | rt.cvv8.abc@gmail.com
35 |  |  |  |  | OFFICE
36 | Shimizu | MAH - NICU | ANp8_VM6R_MAH (NICU) | VM6R | rt.cvv8.abc@gmail.com
37 |  |  | AFJ+_VM |  | OFFICE
38 | Shimizu | MAH - ICU | AHJW_VM2R_MAH (ICU) | VM2R | rt.anh0.abc@gmail.com
39 | Shimizu | MAH - Laser Room | CFnU_VM4R_MAH (Laser Room) | VM4R | rt.cfp8h.abc@gmail.com
40 | Hexacon | 20 Jalan Afifi | APP8_VM3R_20 Jalan Afifi | VM3R | rt.cvv8.abc@gmail.com
41 | TPW Engineering | Woodlands Ave 1&3 | CtJcr_VM2R_Woodlands Ave 1&3 | VM2R | rt.cfp8h.abc@gmail.com
42 |  |  |  |  | FAULTY
43 |  |  |  |  | OFFICE
44 |  |  |  |  | OFFICE
45 |  |  | APt8_ |  | OFFICE
46 | Anderco | 100 Bukit Timah Road (KKH) | CHh8_VM2_KKH | VM2 | rt.cvv8.abc@gmail.com
47 |  |  |  |  | FAULTY
48 | Anderco | 100 Bukit Timah Road (KKH) | Ath8_VM1R_KKH | VM1R | rt.cvv8.abc@gmail.com
49 |  |  | AnDU_VM |  | OFFICE
50 | Beng Siew | 18 Jervois Road | CFBe_VM1R_18 Jervois Road | VM1R | rt.cvv8.abc@gmail.com
51 | Hyundai | 100 Beach Road | CFP8h_VM1_100 Beach Road | VM1 | rt.cvv8.abc@gmail.com
52 | Hyundai | 100 Beach Road | CljWB_VM2_100 Beach Road | VM2 | rt.cvv8.abc@gmail.com
53 | Hyundai | 100 Beach Road | CHJUh_VM3_100 Beach Road | VM3 | rt.cvv8.abc@gmail.com
54 | Hyundai | 100 Beach Road | CHH2L_VM4_100 Beach Road | VM4 | rt.cvv8.abc@gmail.com
55 | Hyundai | 100 Beach Road | AnFeB_VM5_100 Beach Road | VM5 | rt.cvv8.abc@gmail.com
56 | Beng Soon | 8 Shenton Way | CnVcB_VM1R_8 Shenton Way | VM1R | rt.anh0.abc@gmail.com
57 | Aik Sun | Cross Street (Hawker Center) | AvjUL_VM1R_Cross Street | VM1R | rt.cfp8h.abc@gmail.com
58 | UBT | AMK Indus Park 2 | CvI0_VM2R_22 AMK Ind Park 2 | VM2R | rt.cfp8h.abc@gmail.com
59 | UBT | AMK Indus Park 2 | CHrW_VM1R_22 AMK Ind Park 2 | VM1R | rt.anh0.abc@gmail.com
60 | ST Foundation | 8 Tuas Bay Lane | Cth+_VM1_8 Tuas Bay Lane | VM1 | rt.anh0.abc@gmail.com
61 | UBT | AMK Indus Park 2 | CnpU_VM3R_22 AMK Ind Park 2 | VM3R | rt.cvv8.abc@gmail.com
62 |  |  | CvhW_VM |  | OFFICE

## ROUTER
List of the Cambrian Router (Cradlepoint-IBR200)
ROUTER NO. (CAMBRIAN ROUTER) | SIM CARD NUMBER | CLIENT | LOCATION | VM | ADMINISTRATOR | PASSWORD
1 | 89650 3051 91200 6783 |  | OFFICE |  | MM190079100415 | C20ec2012 | OFFICE
2 | 89650 3051 91200 6778 | Hyundai | 100 Beach Road |  | MM190079100412 | C20ec2012 | FAULTY
3 | 89650 1190 4070177544 | Hexacon | 20 Jalan Afifi | VM2 | MM190079100492 | C20ec2012 | MAH
4 | 89650 3051 91200 6754 | Shimizu | MAH - NICU |  | MM190079100411 | C20ec2012 | 100 BEACH ROAD
5 | 896051912006783 | Gee Leng | Yishun Ind Pk A | VM1 | MM190079100413 | C20ec2012 | SILTRONIC
6 | 89650 3051 91200 6779 | Beng Soon | 8 Shenton Way | VM1 | MM190079100414 | C20ec2012 | AMK
7 | 89650 1200 6260827059 | Hyundai | 100 Beach Road |  | MM190079100500 | C20ec2012 | 31 BENOI LANE
8 | 89650 1200 6260827042 | Beng Soon | 3 Seraya Avenue | VM1R | MM190079100491 | C20ec2012 | CROSS STREET
9 | 89650 1200 6260827034 | UBT | Ang Mo Kio | VM1 | MM190079100499 | C20ec2012
10 | 89650305191200 6780 | TPW | Woodlands Ave 1&3 | VM3 | MM190079100495 | C20ec2012 | 8 SHENTON WAY
11 | 51912006781 | V-Tech | 29 Greenleaf Avenue | VM1 | MM190079100114 | C20ec2012 | 3 SERAYA AVE
12 | 8965012006261606114 | ISO-Team | 714 Dunman Road | VM1 | MM190079100112 | C20ec2012 | 20 JALAN AFIFI
13 | 89650305191200 6781 | Anderco | KKH | VM2 | MM190079100116 | C20ec2012 | 18 JERVOIS ROAD
14 | 89650305191200 6720 | Tong Bee | Siltronic |  | MM190079100115 | C20ec2012 | WOODLANDS 1&3
15 | 896501200 626082 7133 | RAW DATA COLLECTING ROUTER (OFFICE) |  |  | MM190079100118 | C20ec2012 | 799 UPPER CHANGI RD
16 | 89650 1200 6260827125 | Hyundai | 100 Beach Road |  | MM190079100117 | C20ec2012
17 | no sim card |  | OFFICE |  | MM190079100111 | C20ec2012 | KKH
18 | 89650 12006 2608 2714 | ECO2 Builder | Changi Airport | VM2 | MM190079100113 | C20ec2012
19 |  |  |  |  | MM190079100120 | C20ec2012 | Changi Airport
20 | 89650305191200 6786 | Shimizu | MAH - MRI |  | MM190079100119 | C20ec2012
21 |  |  |  |  | MM190079100226 | C20ec2012
22 |  |  |  |  | MM190079100222 | C20ec2012
23 | 89650305191200 6719 | Beng Soon | 8 Shenton Way |  | MM190079100227 | C20ec2012
24 | 89650305191200 6718 | Hexacon | 20 Jalan Afifi | VM3 | MM190079100228 | C20ec2012
25 | 896503 0519 1200 6777 | TPW | Woodlands Ave 1&3 | VM1 | MM190079100224 | C20ec2012
26 | 896501 1904070180548 | Hyundai | 100 Beach Road | VM4 | MM190079100229 | C20ec2012
27 | 896501 1904070180530 | Shimizu | MAH - EYE |  | MM190079100223 | C20ec2012
28 | 896501 1904070180555 | Anderco | KKH |  | MM190079100230 | C20ec2012
29 | 89650305191200 6784 | ISO-Team | 4 Haig Lane | VM1 | MM190079100225 | C20ec2012
30 | 896503 012103 005456 | Hexacon | 20 Jalan Afifi | VM1 | MM190079100014 | C20ec2012
31 |  |  | OFFICE |  | MM190079100018 | C20ec2012
32 | 896503 0519 1200 6776 | Shimizu | MAH - BABYWARD |  | MM190079100019 | C20ec2012
33 | 896503 0519 1200 6773 | Hyundai | 100 Beach Road | VM5 | MM190079100017 | C20ec2012
34 | 896501 1904070177551 | TPW | Woodlands Ave 1&3 | VM2 | MM190079100012 | C20ec2012
35 |  |  |  |  | MM190079100020 | C20ec2012
36 | 896501200626082 7018 | Aik Sun | Cross Street Hawker (Center) |  | MM190079100013 | C20ec2012
37 | 896501 1904070180563 | Shimizu | MAH - ICU |  | MM190079100221 | C20ec2012
38 | 89650305191200 6787 | SK Home | Siew Keng |  | MM190079100011 | C20ec2012
39 | 89650305191200 6785 | Hyundai | 100 Beach Road | VM6 | MM190079100015 | C20ec2012
40 | 896501 1904070177528 | Shimizu | MAH - Laser Room |  | MM204500001072 | C20ec2012
41 | 896503 012103 005458 | Aik Sun | 799 Upper Changi Airport | VM1 | MM204500001076 | C20ec2012
42 | 896503 0519 1200 6758 | ST Foundation | 8 Tuas Bay Lane | VM1 | MM204500001075 | C20ec2012
43 |  |  |  |  | MM204500001078 | C20ec2012
44 | 8.965e+17 | Aik Sun | 799 Upper Changi Airport | VM2 | MM204500001077 | C20ec2012
45 | 89650305191200 6722 | UBT | Ang Mo Kio | VM2 | MM204500001080 | C20ec2012
46 | 896501190407017 7536 | ST Foundation | 8 Tuas Bay Lane | VM2 | MM204500001079 | C20ec2012
47 | 896503 0519 1200 6782 | UBT | Ang Mo Kio | VM3 | MM204500001071 | C20ec2012
48 | 896501200626082 7026 | Anderco | KKH | VM1 | MM204500001073 | C20ec2012
49 | 896503 012103 005460 | Beng Siew | 18 Jervois Road | VM1R | MM204500001074 | C20ec2012
50 |  |  | OFFICE |  | MM190079100016 | C20ec2012

## SIM
List of the Cambrian SIM Number
ROUTER NO. (CAMBRIAN ROUTER) | Site | SIM Number |  | Purpose | OFFICE
1 | Changi Airport_VM2 | 89650305191200 | 6783 | Vibration Monitoring | FAULTY
2 | 100 Beach Road | 89650305191200 | 6778 | Vibration Monitoring | MAH
3 | 20 Jalan Afifi_VM2 | 89650190407017 | 7544 | Vibration Monitoring | 100 BEACH ROAD
4 | Mount Alvernia Hospital_NICU | 89650305191200 | 6754 | Vibration Monitoring | SILTRONIC
5 | Yishun Ind Pk A | 89605191200 | 6783 | Vibration Monitoring | AMK
6 | 8 Shenton way _VM1 | 89650305191200 | 6779 | Vibration Monitoring | 31 BENOI LANE
7 | 100 Beach Road | 896501200626082 | 7059 | Vibration Monitoring | CROSS STREET
8 | Seraya Ave | 896501200626082 | 7042 | Vibration Monitoring
9 | AMK_VM1 | 896501200626082 | 7034 | Vibration Monitoring | 8 SHENTON WAY
10 | Woodlands Ave1_VM3 | 89650305191200 | 6780 | Vibration Monitoring | 3 SERAYA AVE
11 | 29 Greenleaf Avenue_VM1 | 51912006781 | - | Vibration Monitoring | 20 JALAN AFIFI
12 | 714 Duman Road_VM1 | 896501200626160 | 6114 | Vibration Monitoring | 18 JERVOIS ROAD
13 | KKH_VM2 | 89650305191200 | 6781 | Vibration Monitoring | WOODLANDS 1&3
14 | Siltronic | 89650305191200 | 6720 | Vibration Monitoring | 799 UPPER CHANGI RD
15 | Raw Data Collector (Office) | 896501200626082 | 7133 | Vibration Monitoring
16 | 100 Beach Road | 896501200626082 | 7125 | Vibration Monitoring | KKH
17 | Changi | 89650305191200 | 6784 | Vibration Monitoring
18 |  | 896501200626082 | 7141 | OFFICE
19 | Office - Faulty (Circuit Issues) | - | - | -
20 | Mount Alvernia Hospital_MRI | 89650305191200 | 6786 | Vibration Monitoring
21 | Office - Faulty | - | - | -
22 | Office - Faulty | - | - | -
23 | 8 Shenton way_VM2 | 89650305191200 | 6719 | Vibration Monitoring
24 | 20 Jalan Afifi_VM3 | 89650305191200 | 6718 | Vibration Monitoring
25 | Woodlands Ave1_VM1 | 89650305191200 | 6777 | Vibration Monitoring
26 | 100 Beach Road_VM4 | 896501190407018 | 0548 | Vibration Monitoring
27 | Mount Alvernia Hospital_EYE | 896501190407018 | 0530 | Vibration Monitoring
28 | KKH | 896501190407018 | 0555 | Vibration Monitoring
29 | 4 Haig Lane_VM1 | 89650305191200 | 6784 | Vibration Monitoring
30 | 20 Jalan Afifi_VM1 | 89650301210300 | 5456 | Vibration Monitoring
31 | 31 Benoi Lane_VM1 |  |  | Vibration Monitoring
32 | Mount Alvernia Hospital_Babyward | 89650305191200 | 6776 | Vibration Monitoring
33 | 100 Beach Road_VM5 | 89650305191200 | 6773 | Vibration Monitoring
34 | Woodlands Ave1_VM2 | 896501190407017 | 7551 | Vibration Monitoring
35 | Office - Faulty (Circuit Issues) | - | - | -
36 | Cross Street (Hawker Center)_VM1 | 896501200626082 | 7018 | Vibration Monitoring
37 | Mount Alvernia Hospital_ICU | 896501190407018 | 0563 | Vibration Monitoring
38 | Siew Keng | 89650305191200 | 6787 | WFH Purpose
39 | 100 Beach Road_VM6 | 89650305191200 | 6785 | Vibration Monitoring
40 | Mount Alvernia Hospital - Laser Room | 896501190407017 | 7528 | Vibration Monitoring
41 | 799 New Upper Changi Road_VM1 | 89650301210300 | 5458 | Vibration Monitoring
42 | 8 Tuas Bay Lane | 89650305191200 | 6758 | Vibration Monitoring
43 | Office - Faulty (Circuit Issues)
44 | 799 New Upper Changi Road_VM2 | 89650301210300 | 5459 | Vibration Monitoring
45 | AMK_VM2 | 89650305191200 | 6722 | Vibration Monitoring
46 | 8 Tuas Bay Lane | 896501190407017 | 7536 | Vibration Monitoring
47 | AMK VM3 | 89650305191200 | 6782 | Vibration Monitoring
48 | KKH-VM1 (Replaced) | 896501200626082 | 7026 | Vibration Monitoring
49 | 18 Jervois Road_VM1R | 89650301210300 | 5460 | Vibration Monitoring
50 | Johan | 89650305191200 | 6775 | GPS
51 | Johan | 89650305191200 | 6756 | GPS
52 | Johan | 89650305191200 | 6757 | GPS
53 | Abdul | 89650305191200 | 6721 | GPS
54 | Chun Yong | 896501200626082 | 7000 | GPR
| D-001 | 896501190407017 | 7536 | Dust Monitoring
| D-002 | 896501190407018 | 0522 | DustMonitoring
| GPR tablet - Chun Yong | 89650365191200 | 6755 | GPR
1 | New SIM card - received on 02.09.2022 | 896503 012103 005456 | - | used
2 | New SIM card - received on 02.09.2022 | 896503 012103 005457 | - | used
3 | New SIM card - received on 02.09.2022 | 896503 012103 005458 | - | used
4 | New SIM card - received on 02.09.2022 | 896503 012103 005459 | - | used
5 | New SIM card - received on 02.09.2022 | 896503 012103 005460 | - | used
1 | New SIM card - received on 27.09.2022 | 896503 012103 005461 | - | Office
2 | New SIM card - received on 27.09.2022 | 896503 012103 005462 |  | Office
3 | New SIM card - received on 27.09.2022 | 896503 012103 005463 |  | Office
4 | New SIM card - received on 27.09.2022 | 8965012006261606114
5 | New SIM card - received on 27.09.2022 | 8965012006261606122 |  | Office
6 | New SIM card - received on 27.09.2022 | 8965012006261606130 |  | Office
7 |  | 51912006781 |  | Office
8 |  | 525016123342706 |  | Office